## Instructions
SFO Data View Definitions Matrix
KEY
Cells marked orange, Contractor to Review
Cells marked green; Contractor to Edit
STEP 1: | Worksheet: EqMatrix
Identify which equipment are included in the project's scope and which model will the equipment + data be shown in
STEP 2: | Worksheet: Attributes
Assign ownership of data and data source
STEP 3: | Worksheet: EqMatrix
Identify when data is populated by contractors and checked by SFO
Table: Data Verification Milestones
NO. | DATA MILESTONE | DATE
1 | Design Development
2 | 50% Construction Documents
3 | 100% Construction Documents
4 | Procurement
5 | Field Verification (Installation/Commissioning)
6 | Substantial Completion
Indicate with Yes or No if the equipment is in the project's scope.
Identify the file name in which the equipment and data will be modeled
Indicate WHO is authoring the DATA in the model
Indicate WHO is verifying the DATA in the field (if applicable)
Indicate the original source (document) of the data as applicable
- Expand the columns: "Common Attributes" and "FM Attributes"
- Assign dates to each Data Milestone
- Identify by numbers (as applicable) in the blank cells in which phase SFO can verify the data in the model for each equipment.

## EqMatrix
SYSTEM (Uniformat) |  | EQUIPMENT (from Equipment Inventory Spec Doc 01.78.23 23) | MODEL STRUCTURE (Unit or Assembly) | DETAILS (Assembly parts and further definitions) | IN SCOPE? (Yes or No) | MODEL FILE NAME (See Key Below) | COMMON ATTRIBUTES | TYPE-SFO_TypeDescription | INSTANCE-SFO_ParentChild | INSTANCE-SFO_CreatedBy | INSTANCE-SFO_CreatedOn | TYPE-SFO_AssetClass | INSTANCE-SFO_AssetID | INSTANCE-SFO_BIMUI | INSTANCE-SFO_Tag | TYPE-SFO_OmniClassT23Number | TYPE-SFO_OmniClassT23Title | TYPE-SFO_CSIMF | TYPE-SFO_AssemblyCode | INSTANCE-SFO_BuildingName | INSTANCE-SFO_BuildingNumber | INSTANCE-SFO_BoardingArea | INSTANCE-SFO_LevelNumber | INSTANCE-SFO_RoomNumber | INSTANCE-SFO_RoomName | INSTANCE-SFO_AreaServed | TYPE-SFO_AssetType | TYPE-SFO_Manufacturer | TYPE-SFO_ModelNumber | INSTANCE-SFO_SerialNumber | TYPE-SFO_ExpectedLife | INSTANCE-SFO_InstallDate | INSTANCE-SFO_ModelYear | TYPE-SFO_AssetHeight | TYPE-SFO_AssetWeight | INSTANCE-SFO_Barcode | INSTANCE-SFO_RFID | INSTANCE-SFO_Contractor | TYPE-SFO_ReplacementCost | INSTANCE-SFO_SubmittalItem | TYPE-SFO_O&MManual | TYPE-SFO_PartsList | INSTANCE-SFO_CommisioningReport | TYPE-SFO_WarrantyGuarantorParts | TYPE-SFO_WarrantyDurationParts | TYPE-SFO_WarrantyGuarantorLabor | TYPE-SFO_WarrantyDurationLabor | TYPE-SFO_WarrantyDescription | INSTANCE-SFO_WarrantyStartDate | INSTANCE-SFO_WarrantyEndDate | TYPE-SFO_WarrantySpecSection | TYPE-SFO_SustainabilityPerformanceSpec | TYPE-SFO_AccessibilityPerformanceSpec | TYPE-SFO_CodePerformanceSpec | FM ATTRIBUTES | TYPE-SFO_NumberofMotors | TYPE-SFO_MotorManufacturer | TYPE-SFO_MotorModelNo | TYPE-SFO_ShaftSize | TYPE-SFO_Frame | TYPE-SFO_FramePartNumber | TYPE-SFO_Size | TYPE-SFO_Control | TYPE-SFO_Power | TYPE-SFO_Voltage | TYPE-SFO_Amps | TYPE-SFO_Phase | INSTANCE-SFO_PanelFedBy | INSTANCE-SFO_Circuit | INSTANCE-SFO_PanelLocation | TYPE-SFO_Starter | TYPE-SFO_FuelType | TYPE-SFO_DriveType | TYPE-SFO_DriveBeltSize | TYPE-SFO_DriveBeltQuantity | TYPE-SFO_DriveBeltPartNumber | TYPE-SFO_PulleySize | TYPE-SFO_FanRPM | TYPE-SFO_FilterSize | TYPE-SFO_FilterQuantity | TYPE-SFO_FilterPartNumber | TYPE-SFO_Lubrication | TYPE-SFO_Refrigerant | TYPE-SFO_Capacity | TYPE-SFO_ElectricalHookup
C10 Interior Construction | 1 | Doors | Unit | Motorized, Automatic | Yes | Architectural | [32 empty] | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [14 empty] | 4
D10 Conveying | 1 | Elevators | Assembly | Panels only | Yes | Architectural |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 4
| 2 | Escalators | Assembly | Panels only | No | [33 empty] | ?
| 3 | E-walks | Assembly | Panels only | No | [33 empty] | ?
D20 Plumbing | 1 | Backflow Prevention Device | Unit | att: Pipe Size, Type (DDCA, Fire) | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 2 | Drainage Pump Station | Assembly | Pumps, VFD, MCC, Valves (check, shut-off), att: Size of discharge, Depth of station | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 3 | Eyewash station and showers | Unit | att: Temp. mixing valve (yes or no) | No |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | [24 empty] | ?
| 4 | Hot Water Generator | Unit | Tankless hot water generator | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [12 empty] | 4 |  | 4
| 5 | Hydration Stations | Unit |  | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [8 empty] | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | [14 empty] | 4
| 6 | Pressure Reducing Station | Unit | att: Pipe Size | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 7 | Pressure Regulating Valve | Unit | att: Pipe Size, Range (min. & max pressure) | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 8 | Pump | Unit |  | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4
| 9 | Tank | Unit | Air, Water, Pre-Heat or Expansion | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [29 empty] | 4 | 4
| 10 | Valve | Unit | Any Type, Describe operation, what they feed, zones | Yes | CMI model |  | 5 | 5 | 5 | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
D30 HVAC | 1 | Air Compressors | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4
| 2 | Air Conditioners | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 3 | Air Conditioning Units, Split System | Assembly | Fan Coil Unit, Condenser | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 4 | Air Dryers | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4
| 5 | Air Handling Units | Assembly | Heat Exchanger, Supply Fan, Return Fan, Dehumidifier, Coil | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4
| 6 | Air Separators | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 7 | Air Terminal Units | Unit | Constant Air Volume, Variable Air Volume | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 4
| 8 | Boilers | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [8 empty] | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [13 empty] | 4 | 4
| 9 | Chillers | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 10 | Coils | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 11 | Condensers* | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 12 | Dehumidifiers* | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 13 | Fans | Unit | Exhaust, Return, Supply | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  | 4 |  | 4 | 4
| 14 | Fan Coil Units | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 4
| 15 | Heat Exchangers | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [29 empty] | 4
| 16 | HVAC Heating Units** | Unit |  | Yes | CMI model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | [13 empty] | 4 | 4
D40 Fire Protection | 1 | Commercial Food Service Hoods** | Unit | Exhaust Fans | No | [33 empty] | ? | ?
| 2 | Grease Exhaust Hoods** | Unit |  | No | [33 empty] | ? | ?
| 3 | Fire Curtains (motorized) | Unit |  | No | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | na | na | na | na | na | na | na | na | na | na | na | na | ? | ? | na | na | na | na | na | na | na | na | na | na | na | ? | ? |  | na | na | na | na | na | na | na | na | na | na | na | na | na | na | na | [14 empty] | na
| 4 | Fire Hose Valve | Unit | att: Pipe Size | Yes | Wolerine Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 5 | Fire Hydrant | Unit | att: Pipe Size | Yes | Wolerine Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 6 | Fire Riser Assembly and Flow Switch | Unit | att: Pipe Size | Yes | Wolerine Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 7 | Fire Smoke Dampers | Unit |  | Yes |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | ? | ? | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 |  |  |  |  | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | [14 empty] | 4
D50 Electrical | 1 | Batteries | Unit | Batteries in substation (DC power for controls & relay in substations) | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  |  | 4 | 4
| 2 | Battery Chargers | Unit |  | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 | 4 | 4 | 4 | 4 |  | 4 | 4 | 4
| 3 | Circuit Breakers | Unit | Low Voltage, Air Medium Voltage | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4
| 4 | Electrical Distribution Room | Assembly | Panels, UPS, ATS, Battery for UPS | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 5 | Electrical Generators | Assembly | Motor 400 Hz, Portable | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 6 | Electrical Generators, Emergency | Assembly | Transfer Switch, Fuel Tank, Pumps, Control, Remote Application | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 7 | Electrical Load Center (LV) | Assembly | Switches, Breakers, Batteries, Wire connections, Meters, Emergency Generators | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 8 | Electrical Station (HV) | Assembly | Switches, Breakers, Batteries, Wire connections, Meters, Emergency Generators | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 9 | Fire Alarm Control Panels | Unit |  | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4
| 10 | Motor Control Center - Equipment | Unit |  | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 11 | Motor Control Center - Facility | Assembly | Motors, MCC, VFD, Breakers | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ?
| 12 | Transformers | Unit | Low Voltage, Medium Voltage | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 13 | Electrical Panel Boards | Unit |  | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  |  | 4 | 4 | 4 |  | 4
| 14 | Switches | Unit | Electrical (all types), Automatic Transfer | Yes | Cupertino Model |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na | 4 | 4 | 4 |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | na |  |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | ? | ? | [7 empty] | 4 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4
| 15 | Lighting, High mast | Unit |  | No
G20 Site Improvements | 1 | Gate | Unit | Automatic, Motorized | No
na
1
2
6

## Attributes
| ATTRIBUTE | REVIT PROPERTY | DO NOT EDIT | DATA SOURCE |  |  | DESCRIPTION
|  | Autodesk Revit ® Type or Instance property |  | Role authoring data in Model (as applicable) | Role verifying data in Field (as applicable) | Project document supplying data
COMMON ATTRIBUTES
1 | SFO_TypeDescription | TYPE | TYPE-SFO_TypeDescription |  | N/A | Design Specifications | Description of type, can use Omniclass Table 23 Name if applicable
2 | SFO_ParentChild | INSTANCE | INSTANCE-SFO_ParentChild |  | N/A |  | Number of equipment in hierarchy, if applicable
3 | SFO_CreatedBy | INSTANCE | INSTANCE-SFO_CreatedBy |  | N/A
4 | SFO_CreatedOn | INSTANCE | INSTANCE-SFO_CreatedOn |  | N/A
5 | SFO_AssetClass | TYPE | TYPE-SFO_AssetClass |  | N/A | SFO | To be provided by SFO
6 | SFO_AssetID | INSTANCE | INSTANCE-SFO_AssetID |  | Trade | SFO | To be provided by SFO
7 | SFO_BIMUI | INSTANCE | INSTANCE-SFO_BIMUI |  | N/A | Revit auto-generated | GUID
8 | SFO_Tag | INSTANCE | INSTANCE-SFO_Tag |  | N/A |  | Drawing Tag
9 | SFO_OmniClassT23Number | TYPE | TYPE-SFO_OmniClassT23Number |  | N/A | Classification
10 | SFO_OmniClassT23Title | TYPE | TYPE-SFO_OmniClassT23Title |  | N/A | Classification
11 | SFO_CSIMF | TYPE | TYPE-SFO_CSIMF |  | N/A | Classification | MasterFormat Number
12 | SFO_AssemblyCode | TYPE | TYPE-SFO_AssemblyCode |  | N/A | Classification | Uniformat Number
13 | SFO_BuildingName | INSTANCE | INSTANCE-SFO_BuildingName |  | N/A | SFO BIM Guide
14 | SFO_BuildingNumber | INSTANCE | INSTANCE-SFO_BuildingNumber |  | N/A | SFO BIM Guide
15 | SFO_BoardingArea | INSTANCE | INSTANCE-SFO_BoardingArea |  | N/A | SFO BIM Guide | Include in Room Number
16 | SFO_LevelNumber | INSTANCE | INSTANCE-SFO_LevelNumber |  | N/A | SFO BIM Guide | Include in Room Number
17 | SFO_RoomNumber | INSTANCE | INSTANCE-SFO_RoomNumber |  | N/A | SFO BIM Guide
18 | SFO_RoomName | INSTANCE | INSTANCE-SFO_RoomName |  | N/A | SFO BIM Guide
19 | SFO_AreaServed | INSTANCE | INSTANCE-SFO_AreaServed |  | N/A
20 | SFO_AssetType | TYPE | TYPE-SFO_AssetType |  | N/A |  | Fixed or Movable Asset
21 | SFO_Manufacturer | TYPE | TYPE-SFO_Manufacturer |  | Trade | Approved Submittal
22 | SFO_ModelNumber | TYPE | TYPE-SFO_ModelNumber |  | Trade | Approved Submittal
23 | SFO_SerialNumber | INSTANCE | INSTANCE-SFO_SerialNumber |  | Trade
24 | SFO_ExpectedLife | TYPE | TYPE-SFO_ExpectedLife |  | N/A | Catalog | Usable life per manufacturer's specification and warranty start date
25 | SFO_InstallDate | INSTANCE | INSTANCE-SFO_InstallDate |  | Trade
26 | SFO_ModelYear | INSTANCE | INSTANCE-SFO_ModelYear |  | N/A | Catalog
27 | SFO_AssetHeight | TYPE | TYPE-SFO_AssetHeight |  | N/A | Catalog
28 | SFO_AssetWeight | TYPE | TYPE-SFO_AssetWeight |  | N/A | Catalog
29 | SFO_Barcode | INSTANCE | INSTANCE-SFO_Barcode |  | Trade |  | If applicable
30 | SFO_RFID | INSTANCE | INSTANCE-SFO_RFID |  | Trade |  | If applicable
31 | SFO_Contractor | INSTANCE | INSTANCE-SFO_Contractor |  | N/A |  | Contractor installing the equipment
32 | SFO_ReplacementCost | TYPE | TYPE-SFO_ReplacementCost |  | N/A | Turnover Documents | Unit Cost
33 | SFO_SubmittalItem | INSTANCE | INSTANCE-SFO_SubmittalItem |  | N/A | Approved Submittal | URL to PDF, specify location of document as applicable
34 | SFO_O&MManual | TYPE | TYPE-SFO_O&MManual |  | N/A | Turnover Documents | URL to PDF, specify location of document as applicable
35 | SFO_PartsList | TYPE | TYPE-SFO_PartsList |  | N/A | Turnover Documents | URL to PDF, specify location of document as applicable
36 | SFO_CommisioningReport | INSTANCE | INSTANCE-SFO_CommisioningReport |  | N/A | Turnover Documents | URL to PDF, specify location of document as applicable
37 | SFO_WarrantyGuarantorParts | TYPE | TYPE-SFO_WarrantyGuarantorParts |  | N/A | Turnover Documents
38 | SFO_WarrantyDurationParts | TYPE | TYPE-SFO_WarrantyDurationParts |  | N/A | Turnover Documents
39 | SFO_WarrantyGuarantorLabor | TYPE | TYPE-SFO_WarrantyGuarantorLabor |  | N/A | Turnover Documents
40 | SFO_WarrantyDurationLabor | TYPE | TYPE-SFO_WarrantyDurationLabor |  | N/A | Turnover Documents
41 | SFO_WarrantyDescription | TYPE | TYPE-SFO_WarrantyDescription |  | N/A | Turnover Documents
42 | SFO_WarrantyStartDate | INSTANCE | INSTANCE-SFO_WarrantyStartDate |  | N/A | Turnover Documents
43 | SFO_WarrantyEndDate | INSTANCE | INSTANCE-SFO_WarrantyEndDate |  | N/A | Turnover Documents
44 | SFO_WarrantySpecSection | TYPE | TYPE-SFO_WarrantySpecSection |  | N/A | Turnover Documents | URL to PDF, specify location of document as applicable
45 | SFO_SustainabilityPerformanceSpec | TYPE | TYPE-SFO_SustainabilityPerformanceSpec |  | N/A | Specifications | URL to PDF, specify location of document as applicable
46 | SFO_AccessibilityPerformanceSpec | TYPE | TYPE-SFO_AccessibilityPerformanceSpec |  | N/A | Specifications | URL to PDF, specify location of document as applicable
47 | SFO_CodePerformanceSpec | TYPE | TYPE-SFO_CodePerformanceSpec |  | N/A | Specifications | URL to PDF, specify location of document as applicable
FACILITY MAINTENANCE (FM) ATTRIBUTES
1 | SFO_NumberofMotors | TYPE | TYPE-SFO_NumberofMotors |  | N/A | Catalog
2 | SFO_MotorManufacturer | TYPE | TYPE-SFO_MotorManufacturer |  | N/A | Approved Submittal
3 | SFO_MotorModelNo | TYPE | TYPE-SFO_MotorModelNo |  | N/A | Approved Submittal
4 | SFO_ShaftSize | TYPE | TYPE-SFO_ShaftSize |  | N/A | Catalog
5 | SFO_Frame | TYPE | TYPE-SFO_Frame |  | N/A | Catalog
6 | SFO_FramePartNumber | TYPE | TYPE-SFO_FramePartNumber |  | N/A | Catalog
7 | SFO_Size | TYPE | TYPE-SFO_Size |  | N/A | Catalog
8 | SFO_Control | TYPE | TYPE-SFO_Control |  | N/A | Catalog
9 | SFO_Power | TYPE | TYPE-SFO_Power |  | N/A | Catalog
10 | SFO_Voltage | TYPE | TYPE-SFO_Voltage |  | N/A | Catalog
11 | SFO_Amps | TYPE | TYPE-SFO_Amps |  | N/A | Catalog
12 | SFO_Phase | TYPE | TYPE-SFO_Phase |  | N/A | Catalog
13 | SFO_PanelFedBy | INSTANCE | INSTANCE-SFO_PanelFedBy |  | N/A | Catalog
14 | SFO_Circuit | INSTANCE | INSTANCE-SFO_Circuit |  | N/A | Catalog
15 | SFO_PanelLocation | INSTANCE | INSTANCE-SFO_PanelLocation |  | N/A | Catalog
16 | SFO_Starter | TYPE | TYPE-SFO_Starter |  | N/A | Catalog
17 | SFO_FuelType | TYPE | TYPE-SFO_FuelType |  | N/A | Catalog
18 | SFO_DriveType | TYPE | TYPE-SFO_DriveType |  | N/A | Catalog
19 | SFO_DriveBeltSize | TYPE | TYPE-SFO_DriveBeltSize |  | N/A | Catalog
20 | SFO_DriveBeltQuantity | TYPE | TYPE-SFO_DriveBeltQuantity |  | N/A | Catalog
21 | SFO_DriveBeltPartNumber | TYPE | TYPE-SFO_DriveBeltPartNumber |  | N/A | Catalog
22 | SFO_PulleySize | TYPE | TYPE-SFO_PulleySize |  | N/A | Catalog
23 | SFO_FanRPM | TYPE | TYPE-SFO_FanRPM |  | N/A | Catalog
24 | SFO_FilterSize | TYPE | TYPE-SFO_FilterSize |  | N/A | Catalog
25 | SFO_FilterQuantity | TYPE | TYPE-SFO_FilterQuantity |  | N/A | Catalog
26 | SFO_FilterPartNumber | TYPE | TYPE-SFO_FilterPartNumber |  | N/A | Catalog
27 | SFO_Lubrication | TYPE | TYPE-SFO_Lubrication |  | N/A | Catalog
28 | SFO_Refrigerant | TYPE | TYPE-SFO_Refrigerant |  | N/A | Catalog
29 | SFO_Capacity | TYPE | TYPE-SFO_Capacity |  | N/A | Catalog
30 | SFO_ElectricalHookup | TYPE | TYPE-SFO_ElectricalHookup |  | N/A
Note: current values are suggestions only
3
4
5

## SFO_Common Attributes
# Do not edit manually.
*GROUP | ID | NAME
GROUP | 1 | Identity - type
GROUP | 2 | Identity - instance
GROUP | 3 | Classification - type
GROUP | 4 | Location - instance
GROUP | 5 | InstalledAsset - type
GROUP | 6 | InstalledAsset - instance
GROUP | 7 | Contract - type
GROUP | 8 | Contract - instance
GROUP | 9 | Warranty - type
GROUP | 10 | Warranty - instance
GROUP | 11 | Specifications - type
*PARAM | GUID | NAME | DATATYPE | GROUP
PARAM | 7D4C2370-9205-4327-9D8B-376D635E5ECA | SFO_TypeDescription | Text | 1
PARAM | 3FE212B9-AABA-48F8-A212-09B7E10B0315 | SFO_ParentChild | Text | 2
PARAM | C3DEA0BC-7BB7-429E-B4B1-397DA55DE363 | SFO_CreatedBy | Text | 2
PARAM | 49A21CD3-BA1E-45A9-B9BD-7711976F36C4 | SFO_CreatedOn | Text | 2
PARAM | D2290BD5-7FC9-43DC-885D-D607E567C002 | SFO_AssetClass | Text | 1
PARAM | 550D3C74-5339-4833-B2B7-07067C1E47FD | SFO_AssetID | Text | 2
PARAM | 6FE9932E-E8F6-441A-AB5E-9914E74744E5 | SFO_BIMUI | Text | 2
PARAM | A955826A-9565-41B3-BE66-83297EDFE76C | SFO_Tag | Text | 2
PARAM | 2B175FB9-6A26-4912-BA34-BB497C446310 | SFO_OmniClassT23Number | Text | 3
PARAM | 43A24B04-9B4E-493F-8CF8-94BDCE7363F8 | SFO_OmniClassT23Title | Text | 3
PARAM | EBA72771-6A28-4335-80FF-6CD1022DEC74 | SFO_CSIMF | Text | 3
PARAM | C20B28D8-1640-4F0F-8806-C70FF97C8D91 | SFO_AssemblyCode | Text | 3
PARAM | 32848038-8B25-4948-8637-337DDBBD8F36 | SFO_BuildingName | Text | 4
PARAM | 9EF8FCC5-648F-4CEF-B605-D3804FDBD24E | SFO_BuildingNumber | Text | 4
PARAM | B2053E21-0C18-4B1A-A01C-3A4FD7FDD90A | SFO_BoardingArea | Text | 4
PARAM | C7A443D9-CCBB-4E64-BC02-5B662D20EB11 | SFO_LevelNumber | Text | 4
PARAM | 765F0337-1880-4480-BD77-0B2FE83AACDD | SFO_RoomNumber | Text | 4
PARAM | 3B14A0AF-86B4-4859-95E1-04F5F397ABF3 | SFO_RoomName | Text | 4
PARAM | 2F450F91-6038-4DE6-9709-CD61875BA2AF | SFO_AreaServed | Text | 4
PARAM | 2094418A-B5C0-4660-98BD-FB697F14B403 | SFO_AssetType | Text | 5
PARAM | CF0EEAD7-416F-43C9-A8F3-83220B46D528 | SFO_Manufacturer | Text | 5
PARAM | 96F61C70-20F2-4F28-AD76-3AD09017416E | SFO_ModelNumber | Text | 5
PARAM | FDB401A5-383B-4C52-8CCA-FC4CD84CAC36 | SFO_SerialNumber | Text | 6
PARAM | 5599078E-00CF-4333-96F2-4B7A5CB405E5 | SFO_ExpectedLife | Text | 5
PARAM | 3DDA61D3-303A-4635-B8DE-93670280629B | SFO_InstallDate | Text | 6
PARAM | C9E4D66F-7DC9-4D94-983B-8CF650896F26 | SFO_ModelYear | Text | 6
PARAM | 58CB8F87-FA00-484C-B747-1176C4CA7C42 | SFO_AssetHeight | Text | 5
PARAM | 5080A2A8-30DB-4E6B-A997-17CA8C2DBE8B | SFO_AssetWeight | Text | 5
PARAM | D71851A6-38A3-4BE8-882B-86BE4E1588C3 | SFO_Barcode | Text | 6
PARAM | 98A56591-AE72-4218-A326-FCDF803E93D3 | SFO_RFID | Text | 6
PARAM | DD80C316-C775-4CFB-9A4D-2CA14F6ACFC3 | SFO_Contractor | Text | 8
PARAM | 22286F0C-C5C6-4EC6-A051-436F72B6272F | SFO_ReplacementCost | Text | 7
PARAM | 60608A39-ACDB-46B3-A379-F4CF0448026F | SFO_SubmittalItem | Text | 8
PARAM | A3C35DE4-C9B8-4FC9-BC14-6CDBAD16BDC4 | SFO_O&MManual | Text | 7
PARAM | C1E864D2-3FE3-4F81-A210-5DE398A1B9A5 | SFO_PartsList | Text | 7
PARAM | B8707E04-ADCC-47CF-809E-EC4C597F89FC | SFO_CommisioningReport | Text | 8
PARAM | 5DCB0649-3A0E-4336-8EB9-AFC213A7786F | SFO_WarrantyGuarantorParts | Text | 9
PARAM | BEB66383-D14A-495F-B0D8-83A35BD403E1 | SFO_WarrantyDurationParts | Text | 9
PARAM | BF7BB53D-DE53-45EB-AA8A-EEB066EA2A66 | SFO_WarrantyGuarantorLabor | Text | 9
PARAM | D2B78EB4-C961-4BC1-BF0E-2BCE3511FE8A | SFO_WarrantyDurationLabor | Text | 9
PARAM | 61D60CC5-12B6-409F-8112-919A1AFF183B | SFO_WarrantyDescription | Text | 9
PARAM | 76D8970E-C2E0-4718-A13A-CD06DD7C220B | SFO_WarrantyStartDate | Text | 10
PARAM | 29878CBE-6FFF-456B-8598-339CD28ED73C | SFO_WarrantyEndDate | Text | 10
PARAM | 9F84BFEA-65E1-45D0-8917-07E10B2F788F | SFO_WarrantySpecSection | Text | 9
PARAM | 47169BD9-D4A1-4DFA-A76D-91E3107B0B6D | SFO_SustainabilityPerformanceSpec | Text | 11
PARAM | BA1907EE-C643-4157-AD6E-A62D3350E1E6 | SFO_AccessibilityPerformanceSpec | Text | 11
PARAM | D3DCCF36-8B42-4915-BC82-257F57B4EA78 | SFO_CodePerformanceSpec | Text | 11

## SFO_FM Attributes
# Do not edit manually.
*GROUP | ID | NAME
GROUP | 1 | Mechanical - type
GROUP | 2 | Electrical - type
GROUP | 3 | Electrical - instance
*PARAM | GUID | NAME | DATATYPE | GROUP
PARAM | 12DF8275-DF0B-47F0-A13F-CCEA96F34994 | SFO_NumberofMotors | Text | 1
PARAM | 87E36D6F-4196-4E34-932E-CEB89298C8D0 | SFO_MotorManufacturer | Text | 1
PARAM | 2427589D-C737-4EBD-A9E7-15BB259BA57C | SFO_MotorModelNo | Text | 1
PARAM | 99AE5EAC-79E1-48C3-8FEE-567C1CF6F2F6 | SFO_ShaftSize | Text | 1
PARAM | 75603846-C964-4245-8AAC-F7CBA16C5275 | SFO_Frame | Text | 1
PARAM | BE8C728A-2040-4EC7-BFD3-3F1E4695E09E | SFO_FramePartNumber | Text | 1
PARAM | 667695B4-CC2D-4E9E-9BC1-EAE3F4CDE267 | SFO_Size | Text | 2
PARAM | 8220FA0E-513D-404D-A949-E309016C2A79 | SFO_Control | Text | 2
PARAM | 6F5BA411-4924-4315-9A66-4C96686B4070 | SFO_Power | Text | 2
PARAM | 52352919-CF4A-4304-BA16-5D4C5E618F68 | SFO_Voltage | Text | 2
PARAM | 4E3B2086-1F65-4272-9C8D-E8760342F880 | SFO_Amps | Text | 2
PARAM | F6BFB3F0-406D-4204-B9D9-ACE019B43923 | SFO_Phase | Text | 2
PARAM | 299DE310-8E42-4CE1-890B-C0E5A31B19C7 | SFO_PanelFedBy | Text | 3
PARAM | 6B3BEB69-1A05-434C-B4BC-F798BC531E94 | SFO_Circuit | Text | 3
PARAM | D7CD58B7-F7E6-4724-8062-D766DD5CCA73 | SFO_PanelLocation | Text | 3
PARAM | 1C574051-CF8C-466E-9821-B030AF1CF838 | SFO_Starter | Text | 1
PARAM | 2696CA6D-A9D4-4CB7-AF28-C5B11247FEC1 | SFO_FuelType | Text | 1
PARAM | DED2692A-4DF1-47E7-B192-85FEB332FADF | SFO_DriveType | Text | 1
PARAM | C152C452-7AD0-4D29-8304-7C2A1FA58464 | SFO_DriveBeltSize | Text | 1
PARAM | AD53D6F3-9B27-4218-8358-BA87D4010D3D | SFO_DriveBeltQuantity | Text | 1
PARAM | E7528CD0-D2C6-44E4-B5C8-0A637A3D67F9 | SFO_DriveBeltPartNumber | Text | 1
PARAM | 33CEDDAC-CCF9-4AF0-B5D4-7AFC6F72B9C9 | SFO_PulleySize | Text | 1
PARAM | 096292E1-4A94-412B-91D9-BDA4357F1CDA | SFO_FanRPM | Text | 1
PARAM | BE509558-20A4-438C-811A-C45468F765DD | SFO_FilterSize | Text | 1
PARAM | F8ADAF51-0619-4260-AFB3-FF616B2C425E | SFO_FilterQuantity | Text | 1
PARAM | 96F1690D-63CE-48AE-8920-DF3D9BBD95FE | SFO_FilterPartNumber | Text | 1
PARAM | E973D467-26CE-45F8-9B4D-20121C7022F6 | SFO_Lubrication | Text | 1
PARAM | 0264597C-A8C8-4E6B-8CDB-09E955C92908 | SFO_Refrigerant | Text | 1
PARAM | F6E12BDC-11FE-442C-8F3B-FFEBF4FB2827 | SFO_Capacity | Text | 1
PARAM | 06F08E6E-A731-4840-83C8-DFDFEB1F2870 | SFO_ElectricalHookup | YESNO | 1