## Sheet1
SYSTEM (Uniformat) | UNIFORMAT 1 | CSI MASTERFORMAT 1 | OMNICLASS TABLE 23 |  | EQUIPMENT (from Equipment Inventory Spec Doc 01.78.23 23) | MODEL STRUCTURE (Unit or Assembly) | DETAILS 3 (T: Types & Subtypes, A: Additional attributes, D: Further details and/or included components) | IN SCOPE? (Yes or No) | MODEL FILE NAME (See Key Below) | COMMON ATTRIBUTES | TYPE-SFO_TypeDescription | INSTANCE-SFO_ParentChild | INSTANCE-SFO_CreatedBy | INSTANCE-SFO_CreatedOn | TYPE-SFO_AssetClass | INSTANCE-SFO_AssetID | INSTANCE-SFO_BIMUI | INSTANCE-SFO_Tag | TYPE-SFO_OmniClassT23Number | TYPE-SFO_OmniClassT23Title | TYPE-SFO_CSIMF | TYPE-SFO_AssemblyCode | INSTANCE-SFO_BuildingName | INSTANCE-SFO_BuildingNumber | INSTANCE-SFO_BoardingArea | INSTANCE-SFO_LevelNumber | INSTANCE-SFO_RoomNumber | INSTANCE-SFO_RoomName | INSTANCE-SFO_AreaServed | TYPE-SFO_AssetType | TYPE-SFO_Manufacturer | TYPE-SFO_ModelNumber | INSTANCE-SFO_SerialNumber | TYPE-SFO_ExpectedLife | INSTANCE-SFO_InstallDate | INSTANCE-SFO_ModelYear | TYPE-SFO_AssetHeight | TYPE-SFO_AssetWeight | INSTANCE-SFO_Barcode | INSTANCE-SFO_RFID | INSTANCE-SFO_Contractor | TYPE-SFO_ReplacementCost | INSTANCE-SFO_SubmittalItem | TYPE-SFO_O&MManual | TYPE-SFO_PartsList | INSTANCE-SFO_CommisioningReport | TYPE-SFO_WarrantyGuarantorParts | TYPE-SFO_WarrantyDurationParts | TYPE-SFO_WarrantyGuarantorLabor | TYPE-SFO_WarrantyDurationLabor | TYPE-SFO_WarrantyDescription | INSTANCE-SFO_WarrantyStartDate | INSTANCE-SFO_WarrantyEndDate | TYPE-SFO_WarrantySpecSection | TYPE-SFO_SustainabilityPerformanceSpec | TYPE-SFO_AccessibilityPerformanceSpec | TYPE-SFO_CodePerformanceSpec | FACILITY ATTRIBUTES | TYPE-SFO_NumberofMotors | TYPE-SFO_MotorManufacturer | TYPE-SFO_MotorModelNo | TYPE-SFO_ShaftSize | TYPE-SFO_Frame | TYPE-SFO_FramePartNumber | TYPE-SFO_Size | TYPE-SFO_Control | TYPE-SFO_Power | TYPE-SFO_Voltage | TYPE-SFO_Amps | TYPE-SFO_Phase | INSTANCE-SFO_PanelFedBy | INSTANCE-SFO_Circuit | INSTANCE-SFO_PanelLocation | TYPE-SFO_Starter | TYPE-SFO_FuelType | TYPE-SFO_DriveType | TYPE-SFO_DriveBeltSize | TYPE-SFO_DriveBeltQuantity | TYPE-SFO_DriveBeltPartNumber | TYPE-SFO_PulleySize | TYPE-SFO_FanRPM | TYPE-SFO_FilterSize | TYPE-SFO_FilterQuantity | TYPE-SFO_FilterPartNumber | TYPE-SFO_Lubrication | TYPE-SFO_Refrigerant | TYPE-SFO_Capacity | TYPE-SFO_ElectricalHookup
D20 Plumbing | D2030 | 22 13 19 | 23-27 31 11 | 1 | Backflow Prevention Device | Unit | A: Pipe Size, Type (DDCA, Fire) | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D2040 | 22 14 00 | 23-39 29 13 | 2 | Drainage Pump Station | Assembly | D: Pumps, VFD, MCC, Valves (check, shut-off), A: Size of discharge, Depth of station | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D2090 | 22 45 00 | 23-29 37 13 | 3 | Eyewash station and showers | Unit | A: Temp. mixing valve (yes or no) | Yes | A/M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D2020 | 22 33 00 | 23-31 29 00 | 4 | Hot Water Generator | Unit | D: Tankless hot water generator | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 | [7 empty] | 3 | 3 | 5 | 4 | 3 | 4 | 6 | 6 | 6 | [12 empty] | 5 |  | 5
| D2020 | 22 47 00 | 23-31 31 00 | 5 | Hydration Stations | Unit |  | Yes | A/M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 | [8 empty] | 3 |  | 4 | 3 | 4 | 6 | 6 | 6 | [14 empty] | 5
| D2090 | 23 22 00 | 23-27 27 00 | 6 | Pressure Reducing Station | Unit | A: Pipe Size | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D2090 | 23 05 00 | 23-27 31 00 | 7 | Pressure Regulating Valve | Unit | A: Pipe Size, Range (min. & max pressure) | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D2020 | 22 11 00 | 23-33 17 00 | 8 | Pump | Unit |  | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 6 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5
| D2020 | 22 12 00 | 23-27 29 00 | 9 | Tank | Unit | T: Air, Water, Pre-Heat or Expansion | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 | [29 empty] | 5 | 5
| D2020 | 23 05 00 | 23-27 31 00 | 10 | Valve | Unit | T: Any/all types, D: Describe operation, what they feed, zones | Yes | M |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 4 | 4 | 4
| D3050 | 23 74 00 | 23-33 25 00 | 5 | AHU | Assembly | D: Heat Exchanger, Supply Fan, Return Fan, Dehumidifier, Coil | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 |  | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 5 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5
| D3040 | 23 21 00 |  | 6 | Air Separators | Unit |  | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2
| D3050 | 23 36 00 | 23-33 41 17 | 7 | Air Terminal | Unit | T: Constant Air Volume, Variable Air Volume | Yes | M |  | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 4 | 4 | 4 |  | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 5 | 6 | 6 | 6 |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5 | 5
| D3030 | 23 62/63 00 | 23-33 43 00 | 11 | Condensers* | Unit |  | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 |  | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 5 | 6 | 6 | 6 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5
| D3040 | 23 34 00 | 23-33 31 19 | 13 | Fans | Unit | T: Exhaust, Return, Supply | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 |  | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 5 | 6 | 6 | 6 |  |  | 5 | 5 | 5 | 5 | 5 | 5 |  |  |  | 5 |  | 5 | 5
| D3050 | 23 82 19 | 23-33 33 11 | 14 | FCU | Unit |  | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 |  | 5 | 5 | 4 | 4 | 4 | 4 | 4 | 4 | 5 | 4 | 4 | 5 | 6 | 6 | 6 |  |  | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  | 5 | 5 | 5
| D3020 | 23 57 00 | 23-27 23 00 | 15 | Heat Exchangers | Unit |  | Yes | M |  | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 4 | 5 | 5 | 7 | 7 | 7 | 5 | 5 | 5 | 5 | 5 | 6 | 6 | 5 | 2 | 2 | 2 | [29 empty] | 5
CLASSIFICATION
1
2
6