## Sheet0
Category_Name | RevitId | Tag# | Building Asset | Active | Description | Model # | Serial # | EQUIPMENT TYPE | EQUIPMENT SUBTYPE | Manufacturer | Campus Name | Building Name | Department | Floor Code | Area# | Date Purchased | Warranty Date | Belt Size | Filter Size
Air Terminals | 368222 | MACH_HVAC_DF_SP_57 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102A
Air Terminals | 368224 | MACH_HVAC_DF_SP_02 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102B
Air Terminals | 368226 | MACH_HVAC_DF_SP_03 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 368235 | MACH_HVAC_DF_SP_08 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Air Terminals | 368243 | MACH_HVAC_DF_SP_13 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112B
Air Terminals | 383764 | MACH_HVAC_DF_SP_17 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 111
Air Terminals | 383765 | MACH_HVAC_DF_SP_18 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Air Terminals | 412382 | MACH_HVAC_DF_SP_21 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Air Terminals | 412384 | MACH_HVAC_DF_SP_22 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Air Terminals | 412395 | MACH_HVAC_DF_SP_27 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201F
Air Terminals | 412438 | MACH_HVAC_DF_SP_78 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412440 | MACH_HVAC_DF_SP_79 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412445 | MACH_HVAC_DF_SP_68 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412451 | MACH_HVAC_DF_SP_36 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412455 | MACH_HVAC_DF_SP_40 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412458 | MACH_HVAC_DF_SP_42 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 208E
Air Terminals | 412459 | MACH_HVAC_DF_SP_43 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 203
Air Terminals | 412460 | MACH_HVAC_DF_SP_44 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 203
Air Terminals | 643262 | MACH_HVAC_DF_SP_47 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 100
Air Terminals | 643265 | MACH_HVAC_DF_SP_49 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 1040050 | MACH_HVAC_DF_SP_72 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 100
Air Terminals | 1292215 | MACH_HVAC_DF_RT_25 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Air Terminals | 1292223 | MACH_HVAC_DF_RT_26 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Air Terminals | 1305738 | MACH_HVAC_DF_RT_47 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 1306251 | MACH_HVAC_DF_RT_07 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Air Terminals | 1307133 | MACH_HVAC_DF_RT_31 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208D
Air Terminals | 1307384 | MACH_HVAC_DF_RT_51 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 1330049 | MACH_HVAC_DF_RT_08 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109
Air Terminals | 1330151 | MACH_HVAC_DF_RT_36 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 106
Air Terminals | 1330152 | MACH_HVAC_DF_RT_37 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 104
Air Terminals | 1507152 | MACH_HVAC_DF_RT_20 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Air Terminals | 1507202 | MACH_HVAC_DF_RT_21 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Air Terminals | 1507235 | MACH_HVAC_DF_RT_39 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 204
Air Terminals | 1507267 | MACH_HVAC_DF_RT_42 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 206
Air Terminals | 1548756 | MACH_HVAC_DF_RT_22 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208B
Air Terminals | 1548763 | MACH_HVAC_DF_RT_23 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208C
Air Terminals | 1624087 | MACH_HVAC_LD_SP_07 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626479 | MACH_HVAC_LD_SP_11 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626486 | MACH_HVAC_LD_SP_18 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1681035 | MACH_HVAC_DF_RT_24 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 105
Air Terminals | 1691960 | MACH_HVAC_LD_SP_27 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205C
Air Terminals | 1691964 | MACH_HVAC_LD_SP_29 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1719838 | MACH_HVAC_LD_SP_31 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1720195 | MACH_HVAC_LD_SP_34 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1748038 | MACH_HVAC_DF_RT_43 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Air Terminals | 1908192 | MACH_HVAC_DF_RT_54 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202D
Air Terminals | 1994176 | MACH_HVAC_DF_RT_53 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 212
Air Terminals | 1994362 | MACH_HVAC_DF_RT_01 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 2145012 | MACH_HVAC_DF_RTG_03 | Yes | Yes | Return Grill |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 2145645 | MACH_HVAC_DF_RTG_04 | Yes | Yes | Return Grill |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 2182121 | MACH_HVAC_DF_RT_52 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 368216 | MACH_HVAC_DF_SP_55 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101B
Air Terminals | 368217 | MACH_HVAC_DF_SP_56 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101A
Air Terminals | 368218 | MACH_HVAC_DF_SP_01 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 368228 | MACH_HVAC_DF_SP_05 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 368234 | MACH_HVAC_DF_SP_07 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102F
Air Terminals | 368237 | MACH_HVAC_DF_SP_10 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Air Terminals | 368245 | MACH_HVAC_DF_SP_15 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112D
Air Terminals | 383766 | MACH_HVAC_DF_SP_19 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109
Air Terminals | 412387 | MACH_HVAC_DF_SP_24 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Air Terminals | 412392 | MACH_HVAC_DF_SP_74 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Air Terminals | 412394 | MACH_HVAC_DF_SP_26 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201F
Air Terminals | 412429 | MACH_HVAC_DF_SP_28 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202A
Air Terminals | 412432 | MACH_HVAC_DF_SP_64 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Air Terminals | 412441 | MACH_HVAC_DF_SP_80 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412453 | MACH_HVAC_DF_SP_38 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412456 | MACH_HVAC_DF_SP_41 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208B
Air Terminals | 412457 | MACH_HVAC_DF_SP_63 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208D
Air Terminals | 624862 | MACH_HVAC_DF_SP_46 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208C
Air Terminals | 643264 | MACH_HVAC_DF_SP_48 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 643269 | MACH_HVAC_DF_SP_52 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 977089 | MACH_HVAC_DF_SP_53 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103C
Air Terminals | 1294360 | MACH_HVAC_DF_RT_05 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201E
Air Terminals | 1306520 | MACH_HVAC_DF_RT_28 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Air Terminals | 1306930 | MACH_HVAC_DF_RT_30 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 208E
Air Terminals | 1307368 | MACH_HVAC_DF_RT_50 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Air Terminals | 1330062 | MACH_HVAC_DF_RT_09 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 111
Air Terminals | 1330096 | MACH_HVAC_DF_EX_01 | Yes | Yes | Exhaust Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Air Terminals | 1330150 | MACH_HVAC_DF_RT_35 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 106
Air Terminals | 1338927 | MACH_HVAC_DF_RT_12 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102B
Air Terminals | 1338979 | MACH_HVAC_DF_RT_15 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102
Air Terminals | 1339001 | MACH_HVAC_DF_RT_17 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102D
Air Terminals | 1507140 | MACH_HVAC_DF_RT_18 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202A
Air Terminals | 1507247 | MACH_HVAC_DF_RT_40 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 204
Air Terminals | 1507257 | MACH_HVAC_DF_RT_41 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 206
Air Terminals | 1624076 | MACH_HVAC_LD_SP_01 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626473 | MACH_HVAC_LD_SP_10 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626487 | MACH_HVAC_LD_SP_19 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1691957 | MACH_HVAC_LD_SP_25 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205A
Air Terminals | 1691959 | MACH_HVAC_LD_SP_26 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205A
Air Terminals | 1691961 | MACH_HVAC_LD_SP_28 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205C
Air Terminals | 1751035 | MACH_HVAC_DF_RTG_01 | Yes | Yes | Return Grill |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 1751501 | MACH_HVAC_DF_RTG_02 | Yes | Yes | Return Grill |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 1974519 | MACH_HVAC_LD_SP_37 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1974664 | MACH_HVAC_LD_SP_39 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1974672 | MACH_HVAC_LD_SP_40 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 368227 | MACH_HVAC_DF_SP_04 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 368229 | MACH_HVAC_DF_SP_59 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Air Terminals | 368230 | MACH_HVAC_DF_SP_60 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Air Terminals | 368233 | MACH_HVAC_DF_SP_06 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102
Air Terminals | 368236 | MACH_HVAC_DF_SP_09 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102D
Air Terminals | 368241 | MACH_HVAC_DF_SP_12 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112B
Air Terminals | 368246 | MACH_HVAC_DF_SP_16 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 114
Air Terminals | 412389 | MACH_HVAC_DF_SP_25 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Air Terminals | 412390 | MACH_HVAC_DF_SP_62 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201C
Air Terminals | 412425 | MACH_HVAC_DF_SP_75 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412428 | MACH_HVAC_DF_SP_77 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412431 | MACH_HVAC_DF_SP_29 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202B
Air Terminals | 412434 | MACH_HVAC_DF_SP_31 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202
Air Terminals | 412435 | MACH_HVAC_DF_SP_32 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Air Terminals | 412436 | MACH_HVAC_DF_SP_65 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202D
Air Terminals | 412442 | MACH_HVAC_DF_SP_66 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412448 | MACH_HVAC_DF_SP_71 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412449 | MACH_HVAC_DF_SP_34 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Air Terminals | 412450 | MACH_HVAC_DF_SP_35 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Air Terminals | 412452 | MACH_HVAC_DF_SP_37 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 447000 | MACH_HVAC_DF_SP_45 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102
Air Terminals | 643266 | MACH_HVAC_DF_SP_50 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 100
Air Terminals | 856225 | MACH_HVAC_DF_RT_02 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109A
Air Terminals | 1292229 | MACH_HVAC_DF_RT_04 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201A
Air Terminals | 1304584 | MACH_HVAC_DF_RT_27 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201F
Air Terminals | 1306043 | MACH_HVAC_DF_RT_48 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 1330107 | MACH_HVAC_DF_RT_11 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112D
Air Terminals | 1330149 | MACH_HVAC_DF_RT_34 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 104
Air Terminals | 1338929 | MACH_HVAC_DF_RT_13 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102A
Air Terminals | 1338971 | MACH_HVAC_DF_RT_14 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102F
Air Terminals | 1338984 | MACH_HVAC_DF_RT_16 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Air Terminals | 1507145 | MACH_HVAC_DF_RT_19 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202B
Air Terminals | 1507181 | MACH_HVAC_DF_RT_38 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202
Air Terminals | 1548806 | MACH_HVAC_DF_SP_54 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Air Terminals | 1624080 | MACH_HVAC_LD_SP_03 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1624085 | MACH_HVAC_LD_SP_05 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1624086 | MACH_HVAC_LD_SP_06 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626468 | MACH_HVAC_LD_SP_08 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626482 | MACH_HVAC_LD_SP_14 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626483 | MACH_HVAC_LD_SP_15 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626484 | MACH_HVAC_LD_SP_16 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626485 | MACH_HVAC_LD_SP_17 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1682742 | MACH_HVAC_DF_EX_04 | Yes | Yes | Exhaust Diffuser | ELF375DX | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Ruskin | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103D
Air Terminals | 1691965 | MACH_HVAC_LD_SP_30 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1719839 | MACH_HVAC_LD_SP_32 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1720194 | MACH_HVAC_LD_SP_33 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205E
Air Terminals | 1743039 | MACH_HVAC_DF_EX_02 | Yes | Yes | Exhaust Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 104
Air Terminals | 1743462 | MACH_HVAC_DF_EX_03 | Yes | Yes | Exhaust Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Air Terminals | 1754122 | MACH_HVAC_DF_RT_44 | Yes | Yes | Supply Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Air Terminals | 1754124 | MACH_HVAC_DF_SP_73 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Air Terminals | 1880289 | MACH_HVAC_DF_RT_29 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 203
Air Terminals | 1914585 | MACH_HVAC_LD_SP_21 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1914586 | MACH_HVAC_LD_SP_22 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 368225 | MACH_HVAC_DF_SP_58 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Air Terminals | 368239 | MACH_HVAC_DF_SP_11 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112A
Air Terminals | 368244 | MACH_HVAC_DF_SP_14 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112C
Air Terminals | 383762 | MACH_HVAC_DF_SP_61 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109A
Air Terminals | 383767 | MACH_HVAC_DF_SP_20 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Air Terminals | 412385 | MACH_HVAC_DF_SP_23 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201E
Air Terminals | 412427 | MACH_HVAC_DF_SP_76 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 412433 | MACH_HVAC_DF_SP_30 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202
Air Terminals | 412437 | MACH_HVAC_DF_SP_33 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202
Air Terminals | 412444 | MACH_HVAC_DF_SP_67 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Air Terminals | 412446 | MACH_HVAC_DF_SP_69 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412447 | MACH_HVAC_DF_SP_70 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 412454 | MACH_HVAC_DF_SP_39 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Air Terminals | 643268 | MACH_HVAC_DF_SP_51 | Yes | Yes | Supply Diffuser | 1240 | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 100
Air Terminals | 1292221 | MACH_HVAC_DF_RT_03 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201C
Air Terminals | 1304928 | MACH_HVAC_DF_RT_45 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 1305545 | MACH_HVAC_DF_RT_46 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Air Terminals | 1307328 | MACH_HVAC_DF_RT_32 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101B
Air Terminals | 1307329 | MACH_HVAC_DF_RT_33 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101A
Air Terminals | 1330101 | MACH_HVAC_DF_RT_10 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 114
Air Terminals | 1624079 | MACH_HVAC_LD_SP_02 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1624081 | MACH_HVAC_LD_SP_04 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626470 | MACH_HVAC_LD_SP_09 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626480 | MACH_HVAC_LD_SP_12 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1626481 | MACH_HVAC_LD_SP_13 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1708269 | MACH_HVAC_DF_RT_49 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 1003
Air Terminals | 1720233 | MACH_HVAC_LD_SP_35 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205D
Air Terminals | 1720234 | MACH_HVAC_LD_SP_36 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Graduate Admissions | 2 | 205D
Air Terminals | 1880285 | MACH_HVAC_DF_RT_06 | Yes | Yes | Return Diffuser | S80-S580V | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser | Krueger | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Air Terminals | 1914584 | MACH_HVAC_LD_SP_20 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1914587 | MACH_HVAC_LD_SP_23 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1974646 | MACH_HVAC_LD_SP_38 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 1976269 | MACH_HVAC_LD_SP_24 | Yes | Yes | Supply Diffuser |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Linear Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Air Terminals | 2162523 | MACH_HVAC_DF_RTG_05 | Yes | Yes | Return Grill |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Diffuser |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 1002
Duct Accessories | 1640797 | [5 empty] | 0.000 ft
Duct Accessories | 1749194 | MACH_HVAC_FD_03 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Duct Accessories | 1760831 | MACH_HVAC_FD_06 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Duct Accessories | 1760826 | MACH_HVAC_FD_04 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 203A
Duct Accessories | 1760838 | MACH_HVAC_FD_07 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Duct Accessories | 1640806 | [5 empty] | 0.000 ft
Duct Accessories | 1749164 | MACH_HVAC_FD_02 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 103
Duct Accessories | 1761632 | MACH_HVAC_FD_09 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 206
Duct Accessories | 1610080 | MACH_HVAC_FD_01 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 106
Duct Accessories | 1760828 | MACH_HVAC_FD_05 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Duct Accessories | 1761553 | MACH_HVAC_FD_08 | YES | YES | Fire Smoke Damper, FSD36 | FSD36 | 0.000 ft | Heating, Ventilating & Air Conditioning | Fire Damper | RASKIN | Universsity of San Diego | Manchester Hall | Unassigned | 2 | 204
Mechanical Equipment | 1442625 | MACH_HVAC_AH2 | Yes | Yes | Air Handler outdoor AHU-2 | RDS708B | 0.000 ft | Heating, Ventilating & Air Conditioning | Air Handler | DAIKIN | Universsity of San Diego | Manchester Hall |  | Roof |  |  | 1 Year | B62
Mechanical Equipment | 1446945 | [5 empty] | 0.000 ft
Mechanical Equipment | 1605467 | MACH_HVAC_MechpipeIsoVlv2 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Mechanical Equipment | 1605472 | MACH_HVAC_MechpipeIsoVlv3 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Mechanical Equipment | 1605488 | MACH_HVAC_MechpipeIsoVlv7 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Mechanical Equipment | 1605997 | MACH_HVAC_MechpipeIsoVlv10 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112C
Mechanical Equipment | 1770816 | MACH_HVAC_FanCoil 10 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1774277 | MACH_HVAC_FanCoil 14 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1775225 | MACH_HVAC_FanCoil 13 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1783806 | MACH_HVAC_FanCoil 19 | Yes | Yes | FAN COIL UNIT | H | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1811937 | MACH_HVAC_VDF1 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1829339 | MACH_HVAC_MechpipeIsoVlv21 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829351 | MACH_HVAC_MechpipeIsoVlv23 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829357 | MACH_HVAC_MechpipeIsoVlv24 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1835327 | MACH_MECH_HeatHWPmp2 | Yes | Yes | Heating Hot Water Pump |  | 0.000 ft | Mechanical | Pump |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1887611 | MACH_HVAC_MechpipeIsoVlv29 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Mechanical Equipment | 1897908 | MACH_HVAC_VDF7 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 108
Mechanical Equipment | 1956917 | MACH_MECH_Compr1 | Yes | Yes | Compressor |  | 0.000 ft | Mechanical | Compressor |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1958732 | MACH_MECH_Compr2 | Yes | Yes | Compressor |  | 0.000 ft | Mechanical | Compressor |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1988674 | MACH_HVAC_VDF9 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Mechanical Equipment | 2044573 | MACH_HVAC_MechpipeIsoVlv34 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Mechanical Equipment | 2044651 | MACH_HVAC_MechpipeIsoVlv36 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Mechanical Equipment | 2045692 | MACH_HVAC_MechpipeIsoVlv37 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Mechanical Equipment | 2050497 | MACH_HVAC_MechpipeIsoVlv42 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Mechanical Equipment | 2050563 | MACH_HVAC_MechpipeIsoVlv50 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050566 | MACH_HVAC_MechpipeIsoVlv53 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050668 | MACH_HVAC_MechpipeIsoVlv57 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2051087 | MACH_HVAC_MechpipeIsoVlv62 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Mechanical Equipment | 2051621 | MACH_HVAC_MechpipeIsoVlv67 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Mechanical Equipment | 2051622 | MACH_HVAC_MechpipeIsoVlv68 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Mechanical Equipment | 2061460 | MACH_MECH_CHWPmp2 | Yes | Yes | Chilled Water Pump | Series 80 2x2x9 1/2 | 0.000 ft | Mechanical | Pump | Bell & Gossett | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 108
Mechanical Equipment | 2137086 | MACH_HVAC_RF1 | Yes | Yes | Return Fan |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Return Fan | DAIKIN | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1605475 | MACH_HVAC_MechpipeIsoVlv4 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Mechanical Equipment | 1605494 | MACH_HVAC_MechpipeIsoVlv8 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Mechanical Equipment | 1606031 | MACH_HVAC_MechpipeIsoVlv12 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112C
Mechanical Equipment | 1606211 | MACH_HVAC_MechpipeIsoVlv14 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Mechanical Equipment | 1616457 | MACH_HVAC_MechpipeIsoVlv18 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Mechanical Equipment | 1616469 | MACH_HVAC_MechpipeIsoVlv20 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Mechanical Equipment | 1624069 | MACH_HVAC_EF2 | Yes | Yes | Exhaust Fan | G-143-VG | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall |  | Roof |  |  | 1 Year
Mechanical Equipment | 1681051 | MACH_HVAC_EF1 | Yes | Yes | Exhaust Fan | SP-25 | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 105 |  | 1 Year
Mechanical Equipment | 1772848 | MACH_HVAC_FanCoil 03 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112B |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1773661 | MACH_HVAC_FanCoil 12 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1785774 | MACH_HVAC_FanCoil 04 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1829345 | MACH_HVAC_MechpipeIsoVlv22 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829363 | MACH_HVAC_MechpipeIsoVlv25 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829369 | MACH_HVAC_MechpipeIsoVlv26 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829376 | MACH_HVAC_MechpipeIsoVlv27 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1829382 | MACH_HVAC_MechpipeIsoVlv28 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101
Mechanical Equipment | 1835326 | MACH_MECH_HeatHWPmp1 | Yes | Yes | Heating Hot Water Pump |  | 0.000 ft | Mechanical | Pump |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1838832 | MACH_MECH_HeatHWBoil1 | Yes | Yes | Heating Hot Water Boiler |  | 0.000 ft | Mechanical | Boiler |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1839892 | MACH_MECH_PF_01 | Yes | Yes | POT FEEDER |  | 0.000 ft | Mechanical |  |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1882522 | MACH_HVAC_FanCoil 05 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1889660 | MACH_HVAC_DomHWBoil1 | Yes | Yes | Domestic Hot Water Boiler |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Boiler |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 110
Mechanical Equipment | 2043548 | MACH_HVAC_MechpipeIsoVlv32 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Mechanical Equipment | 2045813 | MACH_HVAC_MechpipeIsoVlv40 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Mechanical Equipment | 2050496 | MACH_HVAC_MechpipeIsoVlv41 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Mechanical Equipment | 2050499 | MACH_HVAC_MechpipeIsoVlv44 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Mechanical Equipment | 2050559 | MACH_HVAC_MechpipeIsoVlv46 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Mechanical Equipment | 2050560 | MACH_HVAC_MechpipeIsoVlv47 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Mechanical Equipment | 2050562 | MACH_HVAC_MechpipeIsoVlv49 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050567 | MACH_HVAC_MechpipeIsoVlv54 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050569 | MACH_HVAC_MechpipeIsoVlv56 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2051088 | MACH_HVAC_MechpipeIsoVlv63 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Mechanical Equipment | 2052683 | MACH_HVAC_MechpipeIsoVlv74 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Mechanical Equipment | 2137862 | MACH_HVAC_SF1 | Yes | Yes | Supply Fan |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Supply Fan | DAIKIN | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 2212089 | MACH_HVAC_MechpipeIsoVlv77 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Mechanical Equipment | 1338836 | MACH_HVAC_DomWtrIsoVlv1 | Yes | Yes | Domestic Water Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 1338842 | MACH_HVAC_DomWtrIsoVlv3 | Yes | Yes | Domestic Water Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 1448123 | [5 empty] | 0.000 ft
Mechanical Equipment | 1605462 | MACH_HVAC_MechpipeIsoVlv1 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E
Mechanical Equipment | 1605478 | MACH_HVAC_MechpipeIsoVlv5 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Mechanical Equipment | 1605980 | MACH_HVAC_MechpipeIsoVlv9 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112C
Mechanical Equipment | 1606014 | MACH_HVAC_MechpipeIsoVlv11 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112C
Mechanical Equipment | 1606192 | MACH_HVAC_MechpipeIsoVlv13 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Mechanical Equipment | 1606245 | MACH_HVAC_MechpipeIsoVlv16 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Mechanical Equipment | 1612316 | MACH_HVAC_EF3 | Yes | Yes | Exhaust Fan | SP-27 | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 107 |  | 1 Year
Mechanical Equipment | 1616451 | MACH_HVAC_MechpipeIsoVlv17 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Mechanical Equipment | 1681034 | MACH_HVAC_EF4 | Yes | Yes | Exhaust Fan | SQ-80-VG | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B |  | 1 Year
Mechanical Equipment | 1708222 | MACH_HVAC_EF5 | Yes | Yes | Exhaust Fan | G-143-VG | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208D |  | 1 Year
Mechanical Equipment | 1772220 | MACH_HVAC_FanCoil 11 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 114 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1777361 | MACH_HVAC_FanCoil 18 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1781986 | MACH_HVAC_FanCoil 22 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1782773 | MACH_HVAC_FanCoil 21 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1783204 | MACH_HVAC_FanCoil 07 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1784407 | MACH_HVAC_FanCoil 02 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1806204 | MACH_HVAC_EF6 | Yes | Yes | Exhaust Fan | G-183-VG | 0.000 ft | Heating, Ventilating & Air Conditioning | Exhaust Fan | GREENHECK | Universsity of San Diego | Manchester Hall |  | Roof |  |  | 1 Year
Mechanical Equipment | 1812170 | MACH_HVAC_VDF3 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1813004 | MACH_HVAC_VDF5 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1813698 | MACH_HVAC_VDF6 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1840439 | MACH_MECH_ET_01 | Yes | Yes | Expansion Tank |  | 0.000 ft | Mechanical |  |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1843374 | MACH_MECH_AS_01 | Yes | Yes | Air Suppressor |  | 0.000 ft | Mechanical |  |  | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1897903 | MACH_MECH_CHWPmp1 | Yes | Yes | Chilled Water Pump | Series 80 2x2x9 1/2 | 0.000 ft | Mechanical | Pump | Bell & Gossett | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 108
Mechanical Equipment | 1917867 | MACH_HVAC_VDF8 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2035186 | MACH_HVAC_FanCoil 17 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 2044502 | MACH_HVAC_MechpipeIsoVlv33 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Mechanical Equipment | 2044606 | MACH_HVAC_MechpipeIsoVlv35 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202C
Mechanical Equipment | 2045739 | MACH_HVAC_MechpipeIsoVlv38 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Mechanical Equipment | 2045778 | MACH_HVAC_MechpipeIsoVlv39 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 2 | 202E
Mechanical Equipment | 2050498 | MACH_HVAC_MechpipeIsoVlv43 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208A
Mechanical Equipment | 2050558 | MACH_HVAC_MechpipeIsoVlv45 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Mechanical Equipment | 2050561 | MACH_HVAC_MechpipeIsoVlv48 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 210
Mechanical Equipment | 2050565 | MACH_HVAC_MechpipeIsoVlv52 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050669 | MACH_HVAC_MechpipeIsoVlv58 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050671 | MACH_HVAC_MechpipeIsoVlv60 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2051089 | MACH_HVAC_MechpipeIsoVlv64 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Mechanical Equipment | 2051619 | MACH_HVAC_MechpipeIsoVlv65 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Mechanical Equipment | 2052685 | MACH_HVAC_MechpipeIsoVlv76 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Mechanical Equipment | 2137413 | MACH_HVAC_SF2 | Yes | Yes | Supply Fan |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Supply Fan | DAIKIN | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1338839 | MACH_HVAC_DomWtrIsoVlv2 | Yes | Yes | Domestic Water Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 1442614 | MACH_HVAC_AH1 | Yes | Yes | Air Handler outdoor AHU-1 | RDS800C | 0.000 ft | Heating, Ventilating & Air Conditioning | Air Handler | DAIKIN | Universsity of San Diego | Manchester Hall |  | Roof |  |  | 1 Year | BX55
Mechanical Equipment | 1446492 | [5 empty] | 0.000 ft
Mechanical Equipment | 1446769 | [5 empty] | 0.000 ft
Mechanical Equipment | 1605483 | MACH_HVAC_MechpipeIsoVlv6 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A
Mechanical Equipment | 1606228 | MACH_HVAC_MechpipeIsoVlv15 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 109B
Mechanical Equipment | 1616463 | MACH_HVAC_MechpipeIsoVlv19 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101C
Mechanical Equipment | 1774225 | MACH_HVAC_FanCoil 15 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 101 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1775362 | MACH_HVAC_FanCoil 01 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102E |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1784886 | MACH_HVAC_FanCoil 20 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208 |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1789110 | MACH_HVAC_FanCoil 09 | Yes | Yes | FAN COIL UNIT | H | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 1 | 100A |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1812078 | MACH_HVAC_VDF2 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1812172 | MACH_HVAC_VDF4 | Yes | Yes | Variable Frequency Drives | FC102 | 0.000 ft | Heating, Ventilating & Air Conditioning | Variable Frequency Drives | Danfoss | Universsity of San Diego | Manchester Hall |  | Roof
Mechanical Equipment | 1878333 | MACH_HVAC_FanCoil 16 | Yes | Yes | FAN COIL UNIT | HPP | 0.000 ft | Heating, Ventilating & Air Conditioning | Fan coil | ENVIRO_TEC | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D |  |  |  | 30% Pleated (MERV 8)
Mechanical Equipment | 1902777 | MACH_HVAC_DomHWCircPmp1 | Yes | Yes | Domestic Hot Water Circulation Pump |  | 0.000 ft | Heating, Ventilating & Air Conditioning | Pump |  | Universsity of San Diego | Manchester Hall | Unassigned | 1 | 110
Mechanical Equipment | 1910115 | MACH_HVAC_MechpipeIsoVlv30 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Mechanical Equipment | 1910121 | MACH_HVAC_MechpipeIsoVlv31 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 102C
Mechanical Equipment | 2050564 | MACH_HVAC_MechpipeIsoVlv51 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050568 | MACH_HVAC_MechpipeIsoVlv55 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2050670 | MACH_HVAC_MechpipeIsoVlv59 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 208
Mechanical Equipment | 2051086 | MACH_HVAC_MechpipeIsoVlv61 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 200
Mechanical Equipment | 2051620 | MACH_HVAC_MechpipeIsoVlv66 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201
Mechanical Equipment | 2052005 | MACH_HVAC_MechpipeIsoVlv69 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Mechanical Equipment | 2052006 | MACH_HVAC_MechpipeIsoVlv70 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Mechanical Equipment | 2052007 | MACH_HVAC_MechpipeIsoVlv71 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Mechanical Equipment | 2052008 | MACH_HVAC_MechpipeIsoVlv72 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201D
Mechanical Equipment | 2052682 | MACH_HVAC_MechpipeIsoVlv73 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Mechanical Equipment | 2052684 | MACH_HVAC_MechpipeIsoVlv75 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Undergraduate Admissions | 2 | 201B
Mechanical Equipment | 2212090 | MACH_HVAC_MechpipeIsoVlv80 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Mechanical Equipment | 2212091 | MACH_HVAC_MechpipeIsoVlv79 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112
Mechanical Equipment | 2212092 | MACH_HVAC_MechpipeIsoVlv78 | Yes | Yes | Mechanical Piping Isolation Valve |  | 0.000 ft | Heating, Ventilating & Air Conditioning |  |  | Universsity of San Diego | Manchester Hall | Career Development Ctr | 1 | 112